| SCOPE OF WORKS SUMMARY WITH ADIITIONAL ITEMS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEMS |  |  |  |  | COST (PhP) |
| I. | CONCRETING / MASONRY |  |  |  | 108,950 |
| II. | CARPENTRY |  |  |  | 154,043 |
| III. | METAL WORKS |  |  |  | 50,485 |
| IV. | PLUMBING & SEWERAGE |  |  |  | 84,939 |
| V. | ELECTRICAL |  |  |  | 81,308 |
| VI. | LIGHTINGS & OTHER ACCESSORIES |  |  |  | 94,208 |
| VII. | FINISHING |  |  |  | 56,709 |
| VIII. | PRE-FABRICATION |  |  |  | 131,215 |
| XI. | PAINTING |  |  |  | 59,069 |
| TOTAL: |  |  |  |  | 820,926 |
| TRANSPORTATION, DELIVERY & LABOR COSTS: |  |  |  |  | 452,916 |
| MARK UP, TAX & CONTINGENCY: |  |  |  |  | 142,887 |
| GRAND TOTAL: |  |  |  |  | 1,416,730 |
| SUMMARIZED COST PER SQUARE METER |  |  |  |  |  |
| PRICE PER SQM @ 84SQM: |  |  |  |  | 16,866 |
| PRICE PER SQM @ 84SQM WITHOUT LIGHTINGS & ACCESSORIES: |  |  |  |  | 14,939 |

| BREAKDOWN: |  |  |  |  |  |  | REMARKS |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| I. CONCRETING / MASONRY |  |  |  |  |  |  |  |  |
| NO. | ITEM | QUANTITY |  | SPECS | UNIT COST(PhP) | AMOUNT (PhP) | CHANGES | PURPOSE |
| 1.1 | C.H.B. | 375 | pcs | 4 x 8 x 16 | 10 | 3,750 |  |  |
| 1.2 | C.H.B. | 636 | pcs | 5 x 8 x 16 | 12 | 7,632 |  |  |
| 1.3 | Cement | 196 | bags |  | 215 | 42,140 | from 189 to 196bags | reduced CR windows area; re-routed MCB; fire exit/front ramps; sauna & staff rooms (elevated floor) |
| 1.4 | Sand | 988 | bags | bistay | 35 | 34,580 | from 971 to 988bags |  |
| 1.5 | G.I. Wire | 7 | kgs | #16 | 70 | 490 |  |  |
| 1.6 | Sandflex | 3 | pcs |  | 60 | 180 |  |  |
| 1.7 | Level Wire | 4 | rolls |  | 25 | 100 |  |  |
| 1.8 | Concrete Nail | 3 | kg | #3 | 80 | 240 |  |  |
| 1.9 | Concrete Nail | 0.5 | kg | #2 | 80 | 40 |  |  |
| 1.10 | CW Nail | 2 | kg | #3 | 52 | 104 |  |  |
| 1.11 | CW Nail | 1 | kg | #2 | 52 | 52 |  |  |
| 1.12 | Plywood | 4 | pcs | ordinary; 1/4 | 360 | 1,440 |  |  |
| 1.13 | Form Lumber | 12 | pcs | 2x2x12 | 64 | 768 |  |  |
| 1.14 | Form Lumber | 18 | pcs | 2x3x10 | 80 | 1,440 |  |  |
| 1.15 | Form Lumber | 3 | pcs | 2x2x10 | 53 | 159 |  |  |
| 1.16 | Form Lumber | 4 | pcs | 2x3x8 | 64 | 256 |  |  |
| 1.17 | Form Lumber | 3 | pcs | 2x2x8 | 43 | 129 |  |  |
| 1.18 | Sahara | 26 | bags |  | 35 | 910 |  |  |
| 1.19 | Hinges | 3 | pcs | 3x3 | 30 | 90 |  |  |
| 1.20 | Blue Sack | 8 | m |  | 35 | 280 |  |  |
| 1.21 | Chalkstone | 1 | pc |  | 5 | 5 |  |  |
| 1.22 | Diamond Cutter | 1 | pc |  | 320 | 320 |  |  |
| 1.23 | Reinforced Steel Bar | 51 | pcs | 8mm | 60 | 3,060 |  |  |
| 1.24 | Metal Bit | 18 | pcs | 1/8 | 75 | 1,350 |  |  |
| 1.25 | Masonry Bit | 3 | pcs | 3mm | 70 | 210 |  |  |
| 1.26 | Waterproofing | 3 | gals | bituminous | 1,700 | 5,100 | from 2 to 3gals | other wet areas were required (staff room & sauna) |
| 1.27 | Waterproofing | 1 | lot | cementitious | 4,125 | 4,125 |  |  |
| Direct Cost: |  |  |  |  |  | 108,950 |  |  |

| II. CARPENTRY |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NO. | ITEM | QUANTITY |  | SPECS | UNIT COST(PhP) | AMOUNT (PhP) |  |  |
| 1.1 | Metal Furring | 56 | pcs | 1 x 3 | 89 | 4,984 |  |  |
| 1.2 | Carrying Channel | 36 | pcs |  | 110 | 3,960 |  |  |
| 1.3 | Metal Studs | 108 | pcs | 8' | 104 | 11,232 |  |  |
| 1.4 | Metal Tracks | 30 | pcs | 8' | 89 | 2,670 |  |  |
| 1.5 | Metal Studs | 88 | pcs | 10' | 124 | 10,912 |  |  |
| 1.6 | Metal Tracks | 36 | pcs | 10' | 112 | 4,032 |  |  |
| 1.7 | Wall Angle | 32 | pcs | 8' | 33 | 1,056 |  |  |
| 1.8 | Wall Angle | 3 | pcs | 10' | 42 | 126 |  |  |
| 1.9 | Wall Clip | 300 | pcs | 8' | 5 | 1,500 |  |  |
| 1.10 | Hanger Clip | 150 | pcs | threaded | 12.5 | 1,875 |  |  |
| 1.11 | Gypsum Board | 37 | pcs | 3/8 | 340 | 12,580 |  |  |
| 1.12 | Gypsum Tape | 14 | rolls | 2x75 | 120 | 1,680 |  |  |
| 1.13 | Good Lumber | 8 | pcs | 2x2x8 | 112 | 896 |  |  |
| 1.14 | Good Lumber | 22 | pcs | 2x2x12 | 175 | 3,850 |  |  |
| 1.15 | Good Lumber | 96 | pcs | 1x1x12; KD | 90 | 8,640 | from 66 to 96pcs | used as borders for banig native designs |
| 1.16 | Good Lumber | 127 | pcs | 1/2x1x12; KD | 55 | 6,985 | from 53 to 127pcs |  |
| 1.17 | Good Lumber | 28 | pcs | 1/2x2x10;KD | 75 | 2,100 | for banig frame |  |
| 1.18 | Good Lumber | 12 | pcs | 1x4x12; KD | 272 | 3,264 |  |  |
| 1.19 | Plywood | 6 | pcs | marine; 3/4 | 1,180 | 7,080 |  |  |
| 1.20 | Plywood | 8 | pcs | ordinary; 1/2 | 690 | 5,520 | from 4 to 8pcs | used for staff/storage room dividers, benches & table |
| 1.21 | Plywood | 3 | pcs | marine; 1/4 | 400 | 1,200 |  |  |
| 1.22 | Plywood | 1 | pc | marine; 1/8 | 280 | 280 |  |  |
| 1.23 | Drop Cloth | 1 | pc | 4m x 5m | 120 | 120 |  |  |
| 1.24 | Tape | 1 | pc | clear | 40 | 40 |  |  |
| 1.25 | Formica | 4 | pcs |  | 855 | 3,420 |  |  |
| 1.26 | Formica Edging | 26 | l.m. |  | 9 | 234 |  |  |
| 1.27 | Contact Cement | 2 | tins |  | 549 | 1,098 |  |  |
| 1.28 | Tex Screw | 38 | pcs |  | 2 | 76 |  |  |
| 1.29 | Rodela | 4 | pcs |  | 90 | 360 |  |  |
| 1.30 | Hardiflex | 84 | pcs | 1/4; 4.5 | 470 | 39,480 |  |  |
| 1.31 | Gypsum Screw | 200 | pcs | 2"; wood | 1.00 | 200 |  |  |
| 1.32 | Gypsum Screw | 3,300 | pcs | 1" pointed | 0.60 | 1,980 |  |  |
| 1.33 | Hardiflex Screw | 200 | pcs | 1" | 0.70 | 140 |  |  |
| 1.34 | Rivets | 11 | bxs | 1/8 x 1/2 | 230 | 2,530 |  |  |
| 1.35 | Concrete Nail | 2.0 | kg | #1 | 80 | 160 |  |  |
| 1.36 | Wood Screw | 5 | boxes | 1.5" | 40 | 200 |  |  |
| 1.37 | Wood Screw | 5 | boxes | 1" | 30 | 150 |  |  |
| 1.38 | Black Screw | 86 | pcs |  | 2 | 172 |  |  |
| 1.39 | Bolt & Nut | 15 | pairs | 3/8; w/ washer | 3 | 45 |  |  |
| 1.4 | Finishing Nails | 2 | kgs | 1.5" | 70 | 140 |  |  |
| 1.41 | Concealed Hinges | 8 | sets | 3/4"; hydraulic | 74 | 592 |  |  |
| 1.42 | Cabinet Handle | 14 | pcs |  | 68 | 952 |  |  |
| 1.43 | Door Stopper | 1 | pc | floor type | 105 | 105 |  |  |
| 1.44 | Drawer Lock | 1 | pc |  | 128 | 128 |  |  |
| 1.45 | Finishing Nails | 2 | kg | 2" | 70 | 140 |  |  |
| 1.46 | Finishing Nails | 1.0 | kg | 1" | 70 | 70 |  |  |
| 1.47 | Stickwell Glue | 4.75 | gals |  | 440 | 2,090 |  |  |
| 1.48 | Good Lumber KD | 5 | pcs | 1 x 4 x 8 | 203 | 1,015 | for bench back support | added back support to prevent clients from leaning on the glass walls |
| 1.49 | Good Lumber KD | 3 | pcs | 2 x 4 x 8 | 405 | 1,215 |  |  |
| 1.50 | Wood Bolts | 12 |  | 1/2 x 4 | 20 | 240 |  |  |
| 1.51 | Sink Cabinet Accessories | 1 | lot |  | 529 | 529 | for kitchen sink | added accessories for kitchen sink cabinet & piping |
| Direct Cost: |  |  |  |  |  | 154,043 |  |  |

| III. METAL WORKS |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NO. | ITEM | QUANTITY |  | SPECS | UNIT COST(PhP) | AMOUNT (PhP) |  |  |
| 1.1 | Deformed Bar | 42 | pcs | 10mm | 99 | 4,158 |  |  |
| 1.2 | Angle Bar | 27 | pcs | 3/16 x 1.5 | 354 | 9,558 |  |  |
| 1.3 | C-Purlin | 1 | pc | 2 x 4; 1.5 | 480 | 480 |  |  |
| 1.4 | Tubular Bar | 5 | pcs | 2 x 4; 1.5 | 1,035 | 5,175 |  |  |
| 1.5 | Tubular Bar | 1 | pc | 2 x 3; 1.5 | 793 | 793 |  |  |
| 1.6 | Tubular Bar | 2 | pcs | 1 x 2; 1.5 | 475 | 950 |  |  |
| 1.7 | Flat Bar | 1 | pc | 1/8 x 1 | 97 | 97 |  |  |
| 1.8 | S-Bar | 5 | pcs | 1.2 x 1; 1.5 | 228 | 1,140 |  |  |
| 1.9 | Square Bar | 2 | pcs | 8mm | 384 | 768 |  |  |
| 1.10 | Glass | 12 | sqft | 6mm | 126 | 1,512 |  |  |
| 1.11 | Handle | 4 | pcs |  | 118 | 472 |  |  |
| 1.12 | Cylindrical Hinge | 6 | pcs | 0.5 | 35 | 210 |  |  |
| 1.13 | Cylindrical Hinge | 4 | pcs | #1 | 65 | 260 |  |  |
| 1.14 | G.I. Sheet | 2 | pcs | 1.2mm | 1,240 | 2,480 |  |  |
| 1.15 | Expansion Bolt | 46 | pcs | 3/8 | 25 | 1,150 |  |  |
| 1.16 | Expansion Bolt | 48 | pcs | 3/8 threaded | 14 | 672 | from 20 to 48pcs | for MCB re-routing, dividers and plumbing |
| 1.17 | Expansion Bolt | 12 | pcs | 3/16 | 20 | 240 |  |  |
| 1.18 | Lock | 1 | pc |  | 300 | 300 |  |  |
| 1.19 | Chain | 0.5 | m |  | 60 | 30 |  |  |
| 1.20 | Paint Brush | 1 | pc | 2" | 35 | 35 |  |  |
| 1.21 | Paint Thinner | 2 | bots |  | 35 | 70 |  |  |
| 1.22 | Red Oxide | 3 | lits |  | 120 | 360 |  |  |
| 1.23 | S-Furring | 120 | pcs |  | 89 | 10,680 |  |  |
| 1.24 | Threaded Bolt | 12 | pcs | 3/8 | 140 | 1,680 |  |  |
| 1.25 | Nuts | 300 | pcs | 3/8 | 2 | 600 |  |  |
| 1.26 | Washer | 150 | pcs | 3/8 | 1 | 150 |  |  |
| 1.27 | Cutting Disc | 13 | pcs | 4" | 85 | 1,105 |  |  |
| 1.28 | Welding Rod | 6 | kgs |  | 100 | 600 |  |  |
| 1.29 | Drill Bit | 2 | pcs | 3/8 | 295 | 590 |  |  |
| 1.30 | Drill Bit | 8 | pcs | 1/8 | 75 | 600 |  |  |
| 1.31 | Drill Bit | 2 | pcs | 1/5 | 176 | 352 |  |  |
| 1.32 | U-Flange | 12 | pairs | stainless; 1" | 75 | 900 | from 10 to 12pcs | for curtain division on double massage rooms |
| 1.33 | Stainless Curtain Rods | 2 | pcs | 1" x 1.2mm x 20' | 820 | 1,640 |  |  |
| 1.34 | Flange Screw | 60 | pcs |  | 2 | 120 |  |  |
| 1.35 | Pipe Angle Connector | 3 | pcs | 1"; for double rooms curtains | 186 | 558 | added item | for curtain division on double massage rooms |
| Direct Cost: |  |  |  |  |  | 50,485 |  |  |

| IV. PLUMBING & SEWERAGE |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NO. | ITEM | QUANTITY |  | SPECS | UNIT COST(PhP) | AMOUNT (PhP) |  |  |
| 1.1 | Water Closet / Lavatory | 2 | sets | HCG package | 10,299 | 20,598 |  |  |
| 1.2 | Kitchen Sink (SB) | 1 | set | stainless; w/ faucet | 3,400 | 3,400 |  |  |
| 1.3 | Faucet | 2 | sets | stainless | 350 | 700 |  |  |
| 1.4 | Grease Trap Kit | 1 | set | stainless | 3,200 | 3,200 |  |  |
| 1.5 | Flexible Hose | 5 | pcs | for water closet/heater/sink | 118 | 590 | from 2 to 5pcs | for water heaters & kitchen sink |
| 1.6 | Water Bidet | 2 | sets |  | 480 | 960 |  |  |
| 1.7 | Angle Valve | 2 | sets |  | 275 | 550 |  |  |
| 1.8 | PVC Pipe | 17 | pcs | S1000; 4" | 570 | 9,690 |  |  |
| 1.9 | PVC Pipe | 23 | pcs | S1000; 2" | 200 | 4,600 |  |  |
| 1.10 | PVC Solvent | 8 | cans | 400cc | 185 | 1,480 |  |  |
| 1.11 | Ball Valve | 2 | pcs |  | 375 | 750 |  |  |
| 1.12 | Teflon | 14 | pcs | 3/4 | 10 | 140 |  |  |
| 1.13 | PVC Adaptor | 134 | pcs | 1/2; blue | 15 | 2,010 |  |  |
| 1.14 | PVC Adaptor | 4 | pcs | 1.5 | 50 | 200 |  |  |
| 1.15 | PVC Elbow | 24 | pcs | 1/2; wt | 12 | 288 |  |  |
| 1.16 | PVC Elbow | 7 | pcs | 1/2; blue | 8 | 56 |  |  |
| 1.17 | PVC Elbow | 21 | pcs | 2 x 90 | 23 | 483 |  |  |
| 1.18 | PVC Elbow | 8 | pcs | 4 x 90 | 69 | 552 |  |  |
| 1.19 | PVC Pipe | 83 | pcs | 1/2; blue | 73 | 6,059 |  |  |
| 1.20 | PVC Wye | 11 | pcs | 4 x 2 | 85 | 935 |  |  |
| 1.21 | PVC Wye | 3 | pcs | 4 x 4 | 112 | 336 |  |  |
| 1.22 | PVC Wye | 6 | pcs | 2 x 2 | 30 | 180 |  |  |
| 1.23 | PVC Tee | 8 | pcs | 2 x 2 | 32 | 256 |  |  |
| 1.24 | PVC Long Elbow | 4 | pcs | 1.5 | 54 | 216 |  |  |
| 1.25 | PVC Elbow | 16 | pcs | 2; 90deg | 21 | 336 |  |  |
| 1.26 | PVC Elbow | 22 | pcs | 2; 45deg | 17 | 374 |  |  |
| 1.27 | PVC Elbow | 4 | pcs | 4; 90deg | 63 | 252 |  |  |
| 1.28 | PVC Elbow | 6 | pcs | 4; 45deg | 49 | 294 |  |  |
| 1.29 | Gate Valve | 1 | pc | meco; 1/2 | 230 | 230 |  |  |
| 1.30 | PPR Elbow | 36 | pcs | 1/2; wt | 125 | 4,500 |  |  |
| 1.31 | PPR Elbow | 46 | pcs | 1/2; plain | 13 | 598 |  |  |
| 1.32 | PPR Tee | 21 | pcs | 1/2 | 17 | 357 |  |  |
| 1.33 | PPR Pipe | 16 | pcs | 1/2 | 294 | 4,704 | from 15 to 16pcs | for sauna rooms |
| 1.34 | PPR Coupling | 6 | pcs | 1/2 | 9 | 54 |  |  |
| 1.35 | PPR Gate Valve | 3 | pcs |  | 323 | 969 |  |  |
| 1.36 | PVC Cleanout | 2 | pcs |  | 315 | 630 |  |  |
| 1.37 | Hose | 1 | pc |  | 150 | 150 |  |  |
| 1.38 | P-Trap | 5 | pcs | 2" | 65 | 325 |  |  |
| 1.39 | Water Meter | 1 | set | Meco | 850 | 850 |  |  |
| 1.40 | PVC Cement | 2.5 | bags |  | 260 | 650 |  |  |
| 1.41 | Vulcaseal | 2.25 | lits |  | 480 | 1,080 |  |  |
| 1.42 | Exhaust Pipe Cover | 2 | sets | 4"; stainless | 610 | 1,220 |  |  |
| 1.43 | Floor Drain | 4 | sets | 4x4; locking | 292 | 1,168 |  |  |
| 1.44 | G.I. Niple | 1 | pc | 1/2 x 2 | 10 | 10 |  |  |
| 1.45 | Pipe Plug | 6 | pcs | 1/2; stainless | 65 | 390 | added items as required by Greenfield | for covering pipes; pipes extensions as directed by Greenfield; sauna room plumbing |
| 1.46 | Cylindrical Hinge | 4 | pcs | 3/8; for covering pipes | 27 | 108 |  |  |
| 1.47 | GI Plain Sheet | 1 | pc | 1.2mm | 1,240 | 1,240 |  |  |
| 1.48 | Angle Bar | 1 | pc | 3/16 x 1.5 | 330 | 330 |  |  |
| 1.49 | Sand Paper | 10 | pcs | #100 | 15 | 150 |  |  |
| 1.50 | Epoxy Primer | 4 | lits | gray | 190 | 760 |  |  |
| 1.51 | Pipe Coupling | 5 | pcs |  | 46 | 230 |  |  |
| 1.52 | Welding Rod | 1.5 | kg |  | 100 | 150 |  |  |
| 1.53 | Tubular Bar | 1 | pc | 1 x 1 x 1.5 | 289 | 289 |  |  |
| 1.54 | Expansion Bolts | 6 | pcs | 1/2 threaded | 20 | 120 |  |  |
| 1.55 | Angle Connector | 4 | pcs |  | 85 | 340 |  |  |
| 1.56 | GI Clam | 6 | pcs |  | 11 | 66 |  |  |
| 1.57 | Cutting Disc | 5 | pcs |  | 85 | 425 |  |  |
| 1.58 | PPR End Cap | 6 | pcs |  | 8 | 48 |  |  |
| 1.59 | Pipe Cement | 1 | can |  | 200 | 200 |  |  |
| 1.60 | Bestank Plumbing & Fittings | 1 | set |  | 974 | 974 |  |  |
| 1.61 | PVC Pipe 4" | 3 | pcs |  | 570 | 1,710 |  | for sauna rooms ventilation/exhaust |
| 1.62 | PVC Pipe Tee 4" | 1 | pc |  | 114 | 114 |  |  |
| 1.63 | PVC Pipe Elbow 4" | 5 | pcs |  | 63 | 315 |  |  |
| Direct Cost: |  |  |  |  |  | 84,939 |  |  |

| V. ELECTRICAL |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NO. | ITEM | QUANTITY |  | SPECS | UNIT COST(PhP) | AMOUNT (PhP) |  |  |
| 1.1 | Junction Box | 64 | pcs | 4 x 2; PVC | 22 | 1,408 |  |  |
| 1.2 | Utility Box | 66 | pcs | 4 x 4; PVC | 22 | 1,452 |  |  |
| 1.3 | Universal Outlet | 52 | sets |  | 33 | 1,716 |  |  |
| 1.4 | 3 Gang Plate | 3 | pcs |  | 19 | 57 |  |  |
| 1.5 | 2 Gang Plate | 26 | pcs |  | 19 | 494 |  |  |
| 1.6 | 1 Gang Plate | 29 | pcs |  | 19 | 551 |  |  |
| 1.7 | Aircon Outlet | 3 | pcs |  | 98 | 294 |  |  |
| 1.8 | Single Pole Switch | 36 | sets | wide series | 38 | 1,368 |  |  |
| 1.9 | Water Heater Outlet | 2 | sets | 1 gang universal | 115 | 230 |  |  |
| 1.10 | THW Wire | 7 | boxes | 2 - 2.0mm² | 1,830 | 12,810 |  |  |
| 1.11 | THW Wire | 3 | boxes | 2 - 3.5mm² | 2,680 | 8,040 |  |  |
| 1.12 | THW Wire | 2 | boxes | 2 - 5.5mm² | 4,090 | 8,180 |  |  |
| 1.13 | THW Wire | 42 | l.m. | 2 - 5.5mm² | 80 | 3,360 |  |  |
| 1.14 | PVC Pipe | 62 | pcs | ½ Ø | 65 | 4,030 |  |  |
| 1.15 | PVC Pipe | 1 | pc | 1.5Ø | 205 | 205 |  |  |
| 1.16 | PVC Clamp | 8 | pcs |  | 5 | 40 |  |  |
| 1.17 | Long Elbow | 50 | pcs | ½ Ø; PVC | 12 | 600 |  |  |
| 1.18 | Male Adaptor | 220 | pcs | ½ Ø; PVC | 15 | 3,300 |  |  |
| 1.19 | Male Adaptor | 1 | pc | 1.5 | 50 | 50 |  |  |
| 1.20 | Junction Cover | 50 | pcs |  | 10 | 500 |  |  |
| 1.21 | 3 Gang Outlet | 1 | pc | universal | 90 | 90 |  |  |
| 1.22 | Trouble Light | 1 | pc | 5m | 350 | 350 |  |  |
| 1.23 | Flat Cord | 10 | m | #10 | 20 | 200 |  |  |
| 1.24 | Holer Saw Bit | 1 | pc | 1/2 | 550 | 550 |  |  |
| 1.25 | Flourescent Light | 2 | sets | 20w | 220 | 440 |  |  |
| 1.26 | Electrical Plug | 2 | pcs |  | 20 | 40 |  |  |
| 1.27 | WH 113 | 3 | sets |  | 90 | 270 |  |  |
| 1.28 | Panel Board (18 holes) | 1 | set |  | 6,250 | 6,250 |  |  |
| 1.29 | Circuit Breaker 2P | 13 | pcs | 15, 20, 30 Amps | 658 | 8,554 |  |  |
| 1.30 | Circuit Breaker 3P | 3 | pcs | 30 Amps | 1,675 | 5,025 |  |  |
| 1.31 | Circuit Breaker (Main) | 1 | pc | 100 Amp | 2,290 | 2,290 |  |  |
| 1.32 | Nema 3R (A/C) | 3 | sets | 3 pole | 1,920 | 5,760 |  |  |
| 1.33 | Electrical Tape | 19 | pcs | big | 25 | 475 |  |  |
| 1.34 | Pull Box | 1 | set | 6x10x18 | 1,280 | 1,280 |  |  |
| 1.35 | Grounding Bracket | 2 | sets |  | 74 | 148 | added items as required by Greenfield | for panel board |
| 1.36 | Meca Tube | 4 | l.m. | 1/2 | 50 | 200 |  | for T5 cove lighting |
| 1.37 | Blank Plate | 4 | pcs |  | 34 | 136 |  | for sauna rooms/counter area |
| 1.38 | Utility Long Screw with Tox | 10 | pcs |  | 18 | 180 |  | for utility boxes |
| 1.39 | PVC Clamp | 8 | pcs |  | 5 | 40 |  | for re-routing MCB |
| 1.40 | EMT Pipe | 1 | pc | 1/2 | 189 | 189 |  | for sauna rooms electrical supply |
| 1.41 | EMT Elbow Connector | 2 | pcs |  | 78 | 156 |  |  |
| Direct Cost: |  |  |  |  |  | 81,308 |  |  |

| VI. LIGHTING & OTHER ACCESSORIES |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NO. | ITEM | QUANTITY |  | SPECS | UNIT COST(PhP) | AMOUNT (PhP) |  |  |
| 1.1 | Dimmable LED Lightbulb | 14 | pcs | 15W | 600 | 8,400 |  |  |
| 1.2 | LED Lamp Holder | 10 | pcs | spotlight; movable | 230 | 2,300 |  |  |
| 1.3 | T5 Cove Light | 10 | sets | 8W; blue | 158 | 1,580 | from 12 to 10pcs | reduced actual quantitites |
| 1.4 | LED Strip Lights | 4 | sets | RGB with Remote | 1,115 | 4,460 | from 5 to 4pcs |  |
| 1.5 | Dimmer Switch | 10 | sets |  | 192 | 1,920 | from 12 to 10pcs |  |
| 1.6 | Pin Lights | 4 | pcs | w/ glass; for T&B | 180 | 720 |  |  |
| 1.7 | Pin Lights Stainless | 2 | pcs | for sauna room | 242 | 484 |  |  |
| 1.8 | Hallway Light | 3 | sets | LED; 24W; white | 1,715 | 5,145 |  |  |
| 1.9 | CFL Bulbs | 0 | pcs | 7W, 9W, 11W | 75 | 0 | from 6 to none | CFL not used |
| 1.10 | LED Bulbs | 10 | pcs | 5W; warm | 192 | 1,920 | from 3 to 10; 315 to 192pesos | all bulbs used are LED |
| 1.11 | Main Light | 1 | set | 3 pcs droplight | 4,550 | 4,550 |  |  |
| 1.12 | Spotlight Track Light | 2 | sets | w/ 2 LED spotlights each | 1,910 | 3,820 |  |  |
| 1.13 | Fire Exit Light | 1 | set | green | 650 | 650 |  |  |
| 1.14 | Emergency Light | 2 | sets | LED | 1,120 | 2,240 |  |  |
| 1.15 | Surface Light | 1 | pc | 3.5" | 180 | 180 |  |  |
| 1.16 | Front LED Lights | 4 | sets | LED; 7W; warm white | 484 | 1,936 |  |  |
| 1.17 | Smoke Detector | 5 | sets |  | 420 | 2,100 |  |  |
| 1.18 | Exhaust Fan | 2 | sets | asahi | 980 | 1,960 |  |  |
| 1.19 | Water Heater | 2 | sets | panasonic | 5,200 | 10,400 |  |  |
| 1.20 | Intercom | 2 | sets | wireless | 1,400 | 2,800 |  |  |
| 1.21 | Towel Rack | 2 | sets | double | 190 | 380 |  |  |
| 1.22 | Lavatory Mirror | 2 | sets |  | 670 | 1,340 |  |  |
| 1.23 | Steel Locker | 1 | set | (w/ delivery fee) | 10,500 | 10,500 |  |  |
| 1.24 | Glass Table Top | 1 | lot | w/ accessories | 4,500 | 4,500 | from acrylic to glass; 2710 to 4500 | for stronger material (against scratch & whitening) |
| 1.25 | Good Lumber | 7 | pcs | 1 x 4 x 12' | 185 | 1,295 |  |  |
| 1.26 | Panic Exit Device | 1 | set |  | 4,200 | 4,200 |  |  |
| 1.27 | Night Latch Door Lock | 1 | set |  | 890 | 890 |  |  |
| 1.25 | Ceiling Speakers | 2 | sets | 12"; 100W | 1,480 | 2,960 | added items for finishing | for audio system |
| 1.26 | Speaker Wires | 40 | l.m. |  | 15 | 600 |  |  |
| 1.27 | Clothes Hanger Hooks | 10 | sets |  | 168 | 1,680 |  | for massage rooms |
| 1.28 | Curtain Hooks | 14 | pcs |  | 92 | 1,288 |  |  |
| 1.29 | Soap Dispenser | 2 | sets |  | 450 | 900 |  | for shower rooms |
| 1.30 | Towel Bar | 2 | sets | lever type; 2 layers | 515 | 1,030 |  |  |
| 1.31 | Auxiliary Audio Jack | 1 | set |  | 48 | 48 |  | for audio system |
| 1.32 | Stainless Steel Pipe | 2 | pcs | for double rooms' curtain rods | 1,520 | 3,040 |  | for curtain division on double massage rooms |
| 1.33 | Pipe Coupling | 3 | pcs | for adjoining remaining rods | 50 | 150 |  | for welding of smaller pipes to save on costs |
| 1.34 | Wire Hooks | 2 | boxes |  | 36 | 72 |  | for electrical wiring in counter area |
| 1.35 | Cable Harness | 1 | set |  | 75 | 75 |  |  |
| 1.36 | Extension Cord | 1 | set | 4 gang; w/ surge protector | 525 | 525 |  | for additional outlets for counter area |
| 1.37 | Shelf Bracket | 10 | sets | 8x10 | 55 | 550 |  | for staff/storage room dividers |
| 1.38 | Shelf Bracket | 6 | sets | 10x12 | 65 | 390 |  |  |
| 1.39 | Cable Access Cover | 3 | pcs |  | 50 | 150 |  | for counter area |
| 1.40 | Black Screw | 80 | pcs | 1.5 | 1 | 80 |  | for dividers |
| Direct Cost: |  |  |  |  |  | 94,208 |  |  |

| VI. FINISHING |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NO. | ITEM | QUANTITY |  | SPECS | UNIT COST(PhP) | AMOUNT (PhP) |  |  |
| 1.1 | Unglazed Tiles (T&B) | 213 | pcs | 20 x 20 | 17 | 3,557 |  |  |
| 1.2 | Glazed Tiles (T&B) | 440 | pcs | 20 x 30 | 26 | 11,440 | from 417 to 440pcs | additional needed tiles |
| 1.3 | Glazed Tiles | 237 | pcs | 60 x 60 | 120 | 28,440 | from 217 to 237pcs |  |
| 1.4 | Plaster Bond | 8 | gals |  | 280 | 2,240 |  |  |
| 1.5 | Tile Grout | 8 | kgs | beige | 59 | 472 | from 3 to 8kgs | added grout for all areas |
| 1.6 | Tile Adhesive | 22 | bags | extra strength | 480 | 10,560 |  |  |
| Direct Cost: |  |  |  |  |  | 56,709 |  |  |
| VII. PRE-FABRICATIONS |  |  |  |  |  |  |  |  |
| NO. | ITEM | QUANTITY |  | SPECS | UNIT COST(PhP) | AMOUNT (PhP) |  |  |
| 1.1 | Panel Door | 1 | set | Mahogany | 4,600 | 4,600 |  |  |
| 1.2 | Door Jamb | 1 | set | 2x4x1m | 1,710 | 1,710 |  |  |
| 1.3 | PVC Door | 2 | sets | with glass | 1,600 | 3,200 |  |  |
| 1.4 | PVC Door | 3 | sets | without glass | 1,300 | 3,900 |  |  |
| 1.5 | Door Knobs | 5 | sets | cylindrical lockset | 260 | 1,300 |  |  |
| 1.6 | Door Knob | 1 | set | Lever type | 700 | 700 |  |  |
| 1.7 | Door Hinge | 3 | pairs | stainless; bearing type | 215 | 645 |  |  |
| 1.8 | Door Closer | 2 | sets | hydraulic | 1,220 | 2,440 | from 1 to 2pcs | added for main door |
| 1.9 | Fixed Glass & Frameless Door | 1 | lot | 12mm thick; double leaf | 110,000 | 110,000 |  |  |
| 1.10 | T&B Signages | 0 | pcs |  | 85 | 0 | from 4 to none | provided by Mont Albo |
| 1.11 | Dead Bolt Lock | 1 | set | double lock | 890 | 890 |  |  |
| 1.12 | Double Action Hinge | 1 | pair | 3" | 320 | 320 | added items | for counter door |
| 1.13 | CR Windows | 2 | sets | awning | 755 | 1,510 |  | for CRs |
| Direct Cost: |  |  |  |  |  | 131,215 |  |  |

| VII. PAINTING |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NO. | ITEM | QUANTITY |  | SPECS | UNIT COST(PhP) | AMOUNT (PhP) |  |  |
| 1.1 | Masking Tape | 26 | pcs | 1" | 28 | 728 |  |  |
| 1.2 | Semi-Gloss Latex | 7 | tins | boysen | 2,195 | 15,365 |  |  |
| 1.3 | Semi-Gloss Latex | 3 | gals | boysen | 565 | 1,695 | from 2 to 3 gals | additional painting at the front & back/fire exit/balcony and pipes as required by Greenfield |
| 1.4 | Flatwall Enamel | 6 | gals | boysen | 625 | 3,750 | from 5 to 6 gals |  |
| 1.5 | Mini-Roller | 8 | pcs | #4 | 70 | 560 | from 6 to 8pcs |  |
| 1.6 | Flat Latex | 6 | tins | boysen | 1,865 | 11,190 |  |  |
| 1.7 | Flat Latex | 2 | gals | boysen | 480 | 960 |  |  |
| 1.8 | Paint Roller | 7 | pcs | 7" | 50 | 350 |  |  |
| 1.9 | Baby Roller | 5 | pcs | cotton | 45 | 225 |  |  |
| 1.10 | Paint Tray | 4 | pcs |  | 40 | 160 |  |  |
| 1.11 | Paint Brush | 2 | pcs | 1.5" | 30 | 60 |  |  |
| 1.12 | Paint Brush | 5 | pcs | 2" | 35 | 175 |  |  |
| 1.13 | Sand Paper | 72 | pcs | no.150 | 15 | 1,080 |  |  |
| 1.14 | Sand Paper | 68 | pcs | no.100 | 15 | 1,020 |  |  |
| 1.15 | Acrylic Paint | 7 | lits | hansa yellow | 150 | 1,050 |  |  |
| 1.16 | Acrylic Paint | 4 | lits | talo red | 120 | 480 |  |  |
| 1.17 | Acrylic Paint | 3 | lits | green | 120 | 360 |  |  |
| 1.18 | Acrylic Paint | 5.75 | lits | burnt siena | 125 | 719 |  |  |
| 1.19 | Acrylic Paint | 4.25 | lits | lamp black | 100 | 425 |  |  |
| 1.20 | Acrylic Paint | 5.5 | lits | raw siena | 125 | 688 |  |  |
| 1.21 | Acrylic Paint | 4 | cans | burnt siena | 50 | 200 |  |  |
| 1.22 | Boral Powder | 8 | sacks |  | 570 | 4,560 |  |  |
| 1.23 | Skimcoat | 9 | sacks |  | 420 | 3,780 |  |  |
| 1.24 | Paint Thinner | 3 | cans |  | 770 | 2,310 |  |  |
| 1.25 | Polituff | 4 | lits |  | 190 | 760 |  |  |
| 1.26 | Palet | 2 | pairs |  | 35 | 70 |  |  |
| 1.27 | Rag | 8 | kgs |  | 60 | 480 | from 5 to 8kgs | for cleaning |
| 1.28 | Gypsum Putty | 2 | tins | ABC | 850 | 1,700 |  |  |
| 1.29 | Quick Dry Enamel | 5 | lits | chocolate brown; boysen | 155 | 775 | from 3 to 5 liters | for the native design borders/fire exit door |
| 1.30 | Varnish Stain | 2.5 | cans |  | 1,310 | 3,275 |  |  |
| 1.31 | Lacquer Thinner | 5 | bots |  | 24 | 120 |  |  |
| Direct Cost: |  |  |  |  |  | 59,069 |  |  |
|  |  |  |  | *NOTE: | Blue Fonts - added items/quantities |  |  |  |
|  |  |  |  |  | Red Fonts - reduced items/quantities |  |  |  |